REQUEST FOR PROPOSAL PS- #xxxx

PASO ROBLES GROUNDWATER BASIN BLENDED WATER SUPPLY PROJECT

WATER SUPPLY FEASIBILITY & ENGINEERING STUDY

July 27, 2023

The County of San Luis Obispo (County) is currently soliciting proposals for professional services for the Paso Robles Groundwater Basin Blended Water Supply Project Feasibility & Engineering Study.

Each proposal shall specify each and every item as set forth in the attached specifications.  Any and all exceptions must be clearly stated in the proposal. Failure to set forth any item in the specifications without taking exception may be grounds for rejection. The County reserves the right to reject any and all proposals and to waive any irregularity or informality in any proposal or in the RFP process, as long as, in the judgment of the County, such action will not negate fair competition and will permit proper comparative evaluation of the proposals submitted.

This RFP is posted on the County’s Purchasing website at http://www.slocounty.ca.gov/GS/Purchasing/Current_Formal_Bids_and_Proposals.htm. Any changes, additions, or deletions to this RFP will be in the form of written addenda issued by the County. Any addenda will be posted on the website. Prospective proposers must check the website for addenda or other relevant new information during the response period. The County is not responsible for the failure of any prospective proposer to receive such addenda. All addenda so issued shall become a part of this RFP.

If your firm is interested and qualified, please submit two (2) separate Adobe Acrobat Portable Data Format (.pdf) files, one (1) technical proposal and one (1) cost proposal, through the County’s Purchasing website at the address listed above, by 3:00 p.m. on August 28, 2023.

If you have any questions about the proposal process, please contact the Buyer directly.

MISSY VILES

Buyer II – Central Services Purchasing

mviles@co.slo.ca.us

Table of Contents

I.	INTRODUCTION	3

A.	PURPOSE  	3

B.	BACKGROUND  	3

II.	SCHEDULE AND SUBMITTAL	5

A.	RFP SCHEDULE	5

B.	QUESTIONS	5

C.	PROPOSAL SUBMITTAL	5

D.	PRE-PROPOSAL CONFERENCE	5

III.	GENERAL INSTRUCTIONS	6

A.	COUNTY RIGHTS & OPTIONS	6

B.	PREVAILING WAGE	8

C.	CHANGES TO THE RFP	8

D.	COMMUNICATIONS	9

E.	INSURANCE	9

F.	EXCEPTIONS & DEVIATIONS	9

G.	AWARD AND STANDARD AGREEMENT	9

IV.	PROPOSAL FORMAT	11

V.	PROPOSAL SELECTION & CONTRACT AWARD	12

A.	SELECTION PROCEDURES	12

B.	SELECTION CRITERIA	13

C.	FINAL SELECTION	13

D.	CONTRACT AWARD AND EXECUTION	13

E.	PROTEST OF AWARD	14

VI.	DEFINITIONS	15

APPENDIX A – SCOPE OF SERVICES	16

APPENDIX B – SAMPLE CONTRACT	26

APPENDIX C – LOCAL VENDOR PREFERENCE	27

APPENDIX D – RISK ASSESSMENT QUESTIONNAIRE	28

APPENDIX E – COUNTY TRAVEL POLICY	30

APPENDIX F – DESIGNATION OF SUBCONTRACTORS FORM	31

APPENDIX G – PROPOSER CHECKLIST	32

## INTRODUCTION

### PURPOSE

The purpose of this Request for Proposal (RFP) is to solicit offers from qualified firms to provide water resources planning, engineering, and design services as required to complete a water supply feasibility and engineering study and Preliminary Engineering Report (PER) to assess the feasibility of delivering blended water supplies from Lake Nacimiento pipeline and the City of Paso Robles recycled water system for agricultural use as an in-lieu water supply to allow for reduced groundwater pumping in the Paso Robles Groundwater Basin.

The goal of this project is to complete a feasibility and engineering study (Phase 1) to assess the practicality of delivering blended water supplies from Lake Nacimiento pipeline and the City of Paso Robles recycled water system for agricultural use in lieu of groundwater pumping. It is anticipated that a consultant will be retained to provide water resources planning, engineering & hydrology services as may be required to develop a recommended schematic level design of a new water supply, treatment and distribution system which will utilize available water sources from the Nacimiento Water Project and tertiary treated recycled wastewater from the City of Paso Robles Recycled Wastewater (i.e., Purple Pipe) System. The project will be designed to provide a supply of blended water that has suitable quality to meet the requirements of existing and future agricultural operations in the central portion of the Paso Robles Groundwater Basin. The study will include the determination of an optimal configuration for the Blended Irrigation Water Supply system which will include separate connections to the Nacimiento Pipeline and the City of Paso Robles Recycled Wastewater System to best meet the requirements of the end users and achieve hydraulic efficiency. In addition to the feasibility and engineering study, the consultant may be retained to develop a final design and prepare construction documents for a new “turn-out” on the Lake Nacimiento Pipeline (Phase 2). Phase 2 work will only occur with the authorization of the County of San Luis Obispo and the City of Paso Robles. All work will be completed in accordance with the County of San Luis Obispo and other applicable local, state, and federal agency regulatory and code requirements.

See Appendix A for detailed scope of work.

The consultant contract is planned to be a “Time and Materials” based contract and the County shall pay to the Consultant as compensation in full for all services performed at the rates specified in the Consultant’s Rate Sheet (to be included in the Consultants Proposal). The term of the contract will not exceed 12 months.

### BACKGROUND

Several potential projects that considered the use of Lake Nacimiento water were identified in the Paso Robles Basin Groundwater Sustainability Plan (GSP). One project that has gained support from the Groundwater Sustainability Agencies (GSAs) in the Basin is a plan to use a blended supply of recycled water from the City of Paso Robles and a surface water supply from the Nacimiento Water Project (NWP) to produce an irrigation supply water that has desirable water quality properties. The proposed project would potentially convey a blended supply via new blending facility, pump station and pipeline infrastructure to irrigate approximately 3,000-5,000 acres of existing irrigated crops. Under the current concept, the blended supply of water would be used as an in-lieu irrigation source of supplemental water and permit the curtailment of approximately 3,500-7,000 acre-feet of groundwater pumping from the Basin annually. The proposed project would provide funding for a Preliminary Engineering Study (PER) to assess the feasibility of the proposed project, perform design alternatives analyses and develop recommendations for the final project design criteria, including pipeline alignments, and design criteria for the proposed blending facility, pump station(s), storage facilities, metered turn-outs, and appurtenances.

The City of Paso Robles has a master plan to distribute tertiary-quality recycled water currently being produced at the City's WWTP to east Paso Robles, where it may be safely used for irrigation of City parks, golf courses, and vineyards. This direct use of recycled water will reduce the need to pump groundwater from the Basin and further improve the sustainability of the City's water supply and provide a supplemental water supply to irrigators in the basin that will further offset groundwater pumping. In 2019, the City completed construction and began operating the first part of this recycled water system, which is filtration and ultraviolet light disinfection at the WWTP. These new tertiary treatment facilities produce high-quality recycled water. The City has completed the design of a major distribution system to deliver recycled water to east Paso Robles. When completed, the distribution system project will be capable of delivering up to 4,900 AFY of disinfected tertiary effluent. Of this amount, approximately 2,000 AFY is currently available for use by agricultural irrigators in-lieu of groundwater extraction, in the central portion of the basin. Water that is not used in lieu of groundwater pumping may be discharged to Huer Huero Creek with the potential for additional recharge benefits. The initial segment of the recycled water distribution system, which includes the infrastructure required to convey the treated effluent supply from the City WWTF across the Salinas River where it will be connected to a segment of recycled water line the City has already constructed, is currently under construction. These initial pipeline segments will facilitate a new turn-out for future extension of the "purple-pipe" distribution system to irrigation users including vineyards, municipal parks, golf courses, residential developments, and the local community college.

The Nacimiento Water Project (NWP) consists of 45 miles of pipeline that conveys raw water from Lake Nacimiento in the northern portion of San Luis Obispo County to communities within San Luis Obispo County. Monterey County Water Resource Agency (MCWRA) manages and operates Lake Nacimiento and San Luis Obispo County Flood Control and Water Conservation District (SLOCFCWD) has an entitlement of 17,500 AFY through a Master Water Agreement with MCWRA negotiated in 1959. Of this amount, 1,750 AFY is permanently allocated to lakeside customers, and the rest is allocated to seven participants. Any surplus NWP water must be obtained through the existing participants through a "turn back pool" arrangement.

NWP is a generally reliable supply, since SLOCFCWD’s entitlement is for the lowest pool in the reservoir, and therefore is largely immune to level fluctuations. However, NWP participants tend to use more during drought conditions, leaving less surplus water for projects that may benefit the Basin during times when pumping from the Basin is the greatest. These variations on supply availability shall be considered as part of the project scope of work.

## SCHEDULE AND SUBMITTAL

### RFP SCHEDULE

The following represents the tentative schedule for this RFP. Any change in the scheduled dates for the Pre-Proposal Conference, Deadline for Final Questions, Proposal Submission Deadline, or Interviews will be advertised in the form of an addendum to this RFP.  The schedule for other milestones dates may be adjusted without notice.

| RFP Schedule | Date |
| --- | --- |
| Issued | July 27, 2023 |
| Pre-Proposal Conference | August 14, 2023 |
| Deadline for Final Questions | August 21, 2023 |
| Proposal Submission Date | August 28, 2023 |
| Evaluation of Proposals | September 11, 2023 |
| Interviews (if needed) | September 21, 2023 |
| Contract Negotiations | October 6, 2023 |
| Intent to Award Issued | October 13, 2023 |
| Award by Board of Supervisors | November 7, 2023 |
| Notice to Proceed | November 8, 2023 |

### QUESTIONS

All questions (requests for interpretations or corrections) pertaining to the content of this RFP must be made in writing through the County’s Purchasing website by 3:00 p.m. on August 21, 2023. Requests submitted after said date may not be considered.  Questions will receive a response within five (5) business days. Questions and responses will be posted (anonymously) on the Purchasing website and can be viewed by accessing the RFP. The County reserves the right to determine the appropriateness of comments / questions that will be posted on the website.

### PROPOSAL SUBMITTAL

If your firm is interested and qualified, please submit two (2) separate Adobe Acrobat Portable Data Format (.pdf) files, one (1) technical proposal and one (1) cost proposal, through the County’s Purchasing website at the address listed on the title page by 3:00 p.m. on August 28, 2023.

### PRE-PROPOSAL CONFERENCE

An onsite pre-proposal conference will be held on August 14, 2023, at 10:00 AM at SLO County Government Center 1055 Monterey Street STE 454 San Luis Obispo, CA 93408.  Interested consultants must RSVP for this meeting to Blaine Reely, Groundwater Sustainability Director via email at breely@co.slo.ca.us no later than 5 p.m. on August 10, 2023. This pre-proposal conference is not mandatory, however, it is highly recommended.

## GENERAL INSTRUCTIONS

### COUNTY RIGHTS & OPTIONS

- All proposals must be submitted to the County’s Purchasing website in Adobe PDF format no later than 3:00 p.m. on August 28, 2023.  Late proposals will not be considered.

- The County reserves the right to request any missing information in a proposal submitted in response to this RFP. Proposer shall have 24 hours to provide the information to the requesting Buyer.

- All costs incurred in the preparation and submission of proposals and related documentation will be borne solely by the proposer.

- This RFP does not constitute an offer of employment or to contract for services.

- The County may, in its sole and absolute discretion, accept or reject any and all proposals, in whole or in part, with or without cause, in response to this RFP and to make more than one award, or no award, or postpone or cancel, at any time, this RFP process, as which the County determines to be in its best interests.

- The County reserves the right to remedy technical errors, modify the published scope of services and approve or disapprove the use of all sub-consultants.

- The issuance of this RFP does not constitute an agreement by the County that any subsequent selection process will occur, or that any contract will be entered into by the County.  Proposals and other materials will not be returned.

- The County has the right to use any or all ideas or concepts presented in any proposal or interview without restriction, without conversation to all applicants.

- All documents submitted to the County in response to this RFP will become the exclusive property of the County.

- All proposals shall remain firm for one hundred eighty, (180) days following closing date for receipt of proposals.

- The County reserves the right to award the contract to the firms who present the proposal which, in the judgment of the County, best accomplishes the desired results.

- The term of the contract will be one (1) year from date of award. Pricing will remain unchanged throughout the term of contract.

- Any contract awarded pursuant to this RFP will incorporate the requirements and specifications contained in this RFP.  All information presented in a proposer’s proposal will be considered binding upon selection of the successful proposer, unless otherwise modified and agreed to by the County during subsequent negotiations.

- Under the provisions of the California Public Records Act (the “Act”), Government Code section 6252 et seq., the County may be obligated to provide a copy of any and all records that the proposer provides County relating to this RFP (hereafter “Records from Proposer”) , including those records which the proposer believes constitute confidential information.  If the County determines (in its sole discretion) that (i) a person/entity has requested a copy of records that would include Records from Proposer , and (ii) the County does not have sufficient direct, first-hand knowledge to independently conclude that such Records from Proposer are exempt from disclosure under the Act, and (iii) the requester is not willing to accept the proposer’s claim that the Records from Proposer are exempt from disclosure under the Act, the County will provide the proposer written notice thereof (via mail and/or email).  If the proposer does not, within seven court business days thereof, file the appropriate papers in San Luis Obispo County Superior Court (“Court”) seeking a court order preventing the County from disclosing any such Records from Proposer to the requester, and have its request heard by the Court within 30 days thereof, the proposer shall be deemed to have waived any claim that  the Records from Proposer are exempt under the Act. (The County reserves the right to issue a written extension of time if it determines (in its sole discretion) that one is appropriate.) Under no circumstances shall the proposer be entitled to recover from County any of its court costs, attorney’s fees or other litigation expenses that are related in any way to whether any Records from Proposer are exempt under the Act.  If any proposer believes that information contained in its response to this RFP should be protected from disclosure, the proposer MUST specifically identify the pages of the response that contains the information by properly marking the applicable pages and inserting the following notice in the front of its response:

NOTICE: The data on pages _ of this response identified by an asterisk (*) contain technical or financial information, which are trade secrets, or information for which disclosure would result in substantial injury to the proposer’s competitive position. Proposer requests that such data be used only for the evaluation of the response, but understands that the disclosure will be limited to the extent the County considers proper under the law. If an agreement is entered into with the proposer, the County shall have the right to use or disclose the data as provided in the agreement, unless otherwise obligated by law.

The County will not honor any attempt by proposer to designate its entire proposal as proprietary. If there is any dispute, lawsuit, claim or demand as to whether information within the response to the RFP is protected from disclosure under the Act, proposer shall indemnify, defend, and hold harmless, the County arising out of such dispute, lawsuit, claim or demand.

- The proposer warrants that no official or employee of the County has an interest, has been employed or retained to solicit or aid in the procuring of any contract resulting from this RFP, if any, and further warrants that such person will not be employed in the performance of the contract without immediate written notice to the County.

- Firms submitting proposals shall warrant that their offer is made without any previous understanding, agreement or connection with any person, firm or corporation submitting a separate proposal for the same project and is in all respects fair, without outside control, collusion, fraud or otherwise illegal action. This condition shall not apply to proposals which are submitted by firms who have partnered with others to submit a cooperative proposal that clearly identifies a primary contractor and the associated sub-contractors.

- Contractor shall comply with all laws and regulations governing nondiscrimination in employment, including the Americans with Disabilities Act of 1990, the Fair Employment and Housing Act (California Government Code §§ 12900, et seq.), and the applicable regulations promulgated thereunder (2 California Code of Regulations §§ 7285, et seq.).

17.1. 	Nondiscrimination: The Contractor, with regard to the work performed by them during the Contract, shall not discriminate on the grounds of race, color or national origin or other legally protected criteria in employment or the selection and retention of subcontractors, including procurement of materials and leases of equipment. The Contractor shall not participate either directly or indirectly in the discrimination prohibited by Section 21.5 of the Regulations, including employment practices when the Contract covers a program set forth in Appendix B of the Regulation.

17.2. 	Solicitation for Subcontracts, Including Procurement of Materials and Equipment. In all solicitation, either by competitive bidding or negotiation, made by the Contractor for work to be performed under a subcontract, including procurement of materials or leases of equipment, each potential subcontractor or supplier shall be notified by the Contractor of the Contractor’s obligations under this Contract and the regulations

- Unforeseen additional items and/or services may be required.  The County therefore reserves the right to negotiate with the successful proposer for additional items and/or services beyond what is described in Appendix A to be added to the final contract.

### PREVAILING WAGE

At least a portion of this work may require prevailing wage work, in the event that Phase 2 is performed.  For any work done by the prime contractor or a subcontractor under this agreement, in accordance with Labor Code Section 1720 et seq., prime contractor must pay employees at least the prevailing rate wages for public works performed on the Project. Prime contractor and any applicable subcontractors listed in your proposal must be registered with the Department of Industrial Relations (DIR) prior to the closing of this RFP.  Contractor must submit certified payroll records to DIR at least monthly for such work.  The work is subject to DIR monitoring and enforcement.  Prime contractor, as well as all subcontractors under this agreement, must be registered with the Department of Industrial Relations for the entire term of the contract.

NOTE:  YOUR PROPOSAL WILL BE REJECTED AND NOT CONSIDERED IF YOU AND ANY APPLICABLE SUBCONTRACTORS LISTED IN YOUR PROPOSAL ARE NOT REGISTERED AT THE TIME THE RFP CLOSES.

Contractors can register at:

http://www.dir.ca.gov/Public-Works/PublicWorks.html

### CHANGES TO THE RFP

This RFP is posted on the County’s Purchasing website at http://www.slocounty.ca.gov/GS/Purchasing/Current_Formal_Bids_and_Proposals.htm. Any changes, additions, or deletions to this RFP will be in the form of written addenda issued by the County.  Any addenda will be posted on the website.  Prospective proposers must check the website for addenda or other relevant new information during the response period. The County is not responsible for the failure of any prospective proposer to receive such addenda. All addenda so issued shall become a part of this RFP. Any proposer who has already submitted their proposal and desires to make corrections, may remove and replace their proposal on the Purchasing website up to the date and time for which this RFP closes.

### COMMUNICATIONS

All communications concerning this RFP shall be directed to Missy Viles, mviles@co.slo.ca.us.  All other communication is not binding and shall in no way modify the RFP or the obligations of the County.

The proceedings of the Selection Committee are confidential, and members of the Selection Committee are not to be contacted by the proposers. After the solicitation has closed, proposers can view the RFP on the Purchasing website where any available award information will be posted and updated within the solicitation. Any questions and requests for information must be addressed to the Buyer.

### INSURANCE

The selected proposer will be required to provide insurance coverage in the amount of One Million Dollars ($1,000,000) Commercial General Liability (CGL) Insurance and Two Million Dollars ($2,000,000) Professional Liability Insurance.  See Appendix B – Sample Contract for complete insurance and indemnification requirements.

| INSURANCE REQUIRED | AMOUNT |
| --- | --- |
| CGL & Property Damage | $ 1.0 Million per occurrence |
| Professional Liability | $ 1.0 Million per occurrence / $ 2.0 Million aggregate |
| Auto Liability /Property Damage/Bodily Injury | $ 1.0 Million per occurrence |
| Workers Compensation & Disability Benefits | $ 1.0 Million per occurrence |

The selected proposer shall provide within five (5) days after the Notice of Award is issued a certificate of liability insurance naming the County of San Luis Obispo and its employees and officers as additionally named insured. This shall be maintained in full force and effect for the duration of the contract and must be in an amount and format satisfactory to the County.

### EXCEPTIONS & DEVIATIONS

Any exceptions to or deviations from the requirements set forth in this RFP must be declared in the proposal submitted by the proposer. Such exceptions or deviations must be segregated as a separate element of the proposal under the heading “Exceptions and Deviations” as instructed below in section IV. The County may waive any immaterial deviation or defect in a proposal.

### AWARD AND STANDARD AGREEMENT

The County reserves the right to make awards within one hundred eighty, (180) days after the date of the RFP closing. The successful proposer is expected to execute a contract similar to the contract in Appendix B. This sample contract is for reference to the anticipated terms and conditions governing the County and the successful proposer. The proposer must take exception in their proposal to any section of the attached contract they do not agree with. Failing to do so will be deemed as acceptance by the proposer to the terms spelled out in the sample contract. The County reserves the right, in its sole discretion, to add, delete, or modify, or negotiate additional terms and conditions to the attached contract.  BEFORE BEGINNING ANY WORK OR SUBMITTING A PROPOSAL IT IS ADVISED THAT PROPOSERS READ THE COUNTY INSURANCE AND INDEMNIFICATION REQUIREMENTS IN THE ATTACHED SAMPLE CONTRACT.  The selected proposer will be asked to provide evidence that County insurance requirements have been met.

## PROPOSAL FORMAT

Technical Proposal:

A qualifying technical proposal must address all of the following points and shall be in the format outlined in this section:

A.	Project Title

B.	Applicant or Firm Name

C.	Format and Firm Qualifications

To respond to the RFP, a proposer must submit a proposal on or before the deadline.  The proposal shall be limited to forty (40) pages in length, not including resumes, Cost Proposal or the following forms which can be included in the appendices: Risk Assessment Questionnaire, Designation of Subcontractors Form, Local Vendor Preference or the Proposer Checklist.  The proposal must be signed by a person authorized to bind the proposing firm to the representations, commitments and statements contained in the proposal. The proposal must contain the following information and documents:

- Cover Letter. A cover letter summarizing the key points of the proposal (2 pages max.)

b.	Description of Firm. A description of the firm’s organizational structure, the jurisdiction in which the firm is organized and date of such organization. In addition, provide a brief description of the firm’s qualifications and experience on projects of similar nature to those described in the proposal as well as projects/clients where consultant has performed as an extension of staff.

c.	Authorized representative of the proposer. The name, address, telephone number, and email address of the person authorized to represent the proposer with respect to all notices, negotiations, discussions, and other communications relating to this proposal, to any negotiation relating to the contract.

d.	Staffing. Provide an organizational chart identifying: 1) the project manager for the work; 2) each key person who would be assigned to carry out the work, and their respective roles in performing the work. Provide a separate description of the experience and qualifications of such manager and key persons, including a summary of experience on similar projects to those described in this proposal.  Resumes should be included for all key individuals as an appendix to the submittal.

e.	References. A list of no more than three references for the proposer and no more than three references for subconsultants, including the names, addresses and telephone numbers of recent clients, preferably other public agencies and a listing of the specific projects and key individuals that have participated in them. Include the dollar amount related to the participation. Identify how much experience the firm and sub consultant has had with public agencies.

f.	Scope. A clear concise statement of the proposer’s understanding of the nature and extent of the services required and a specific outline to demonstrate how personnel would be organized to handle these services.

D.	Work Plan / Technical Services

- This section should establish that the proposer understands the County’s objectives and requirements, demonstrate the proposer’s ability to meet those requirements and outline clearly and concisely the plan for accomplishing the specified work as outlined in Appendix A, Scope of Services.

- Indication of information and participation the proposer will require from County staff.

- Required Attachments Appendix

a.	Resumes. In the Appendix, proposer shall include resumes for all key personnel, the specific projects and roles of the individuals, specialty licenses, certificates or relevant training.  List all similar work.

Cost Proposal:

- Fees. Propose total Not to Exceed (NTE) fees as described under Project Scope. The consultant contract is planned to be a “Time and Materials” based contract, with a NTE amount and the County shall pay to Consultant as compensation in full for all services performed at the rates specified in the Consultant’s Rate Sheet (to be included in the Consultants Proposal). Fees shall detail the billing rates for each firm’s key individuals, other position’s overhead rates and other costs. Include any and all other costs for office, vehicle, cell phones, per diem, etc. Travel cost reimbursement rates must conform to the County’s Travel Policy reimbursements; costs above these rates are not allowed. See Appendix E. Cost proposal must be submitted in a separate Adobe Acrobat Portable Data Format (.pdf) file and shall not be included within the technical proposal.

## PROPOSAL SELECTION & CONTRACT AWARD

### SELECTION PROCEDURES

Proposals will be evaluated by a Selection Committee comprised of one or more County departments, Paso Basin GSA staff, and stakeholders. The Selection Committee will consider the completeness of a proposal and how well the proposal meets the needs of the County. Evaluations will be based on criteria as outlined in Section B (Selection Criteria) below. All proposals in response to this RFP will be evaluated using the same criteria.

The sole purpose of the selection procedure is to determine, from among the responses received, which one is the best qualified firm at compensation that the agency determines to be fair and reasonable. Any final analysis or weighted score does not imply that one proposer is superior to another, but simply that, in the Selection Committee’s judgment, the selected proposer appears to be best qualified for the County’s current and anticipated needs.

The County may require the proposers who receive top rankings during the initial evaluation phase to conduct an on-site interview or oral presentation of their proposal on the date specified in RFP Schedule. The County will provide a required agenda, for those proposers, specifying the items to be covered during the proposer’s presentation.

- SELECTION CRITERIA

The County will evaluate the proposals based on, but not limited to, the following criteria:

| Selection Criteria – RFP | Points Available |
| --- | --- |
| Understanding of scope of work / completeness of Work Plan | 20 |
| Demonstrated expertise in performing recent similar work | 20 |
| Qualifications and experience of key staff (all disciplines) | 15 |
| Familiarity with local, state and federal procedures (including permitting requirements) | 15 |
| Previous successful experience working with local agencies | 10 |
| Project delivery schedule and milestones, and deliverables clearly defined | 10 |
| Staffing plan and manhour estimates by discipline clearly defined | 10 |
| Total Points Available Per Proposer | 100 |

### FINAL SELECTION

The Selection Committee will formulate its recommendation for award of the Contract, and forward its selection to the appropriate parties for approval.

### CONTRACT AWARD AND EXECUTION

The County reserves the right to enter into a contract without further discussion of the submitted proposal. Therefore, the proposal should be initially submitted on the most favorable terms the proposer can offer.

The County reserves the right to withdraw the RFP in whole or in part, at any time and for any reason. Submission of a proposal confers no rights upon a proposer and does not obligate the County in any manner. The County reserves the right to award no contract and to solicit additional offers at a later date.

Each proposer, by submitting a proposal, agrees that if the County accepts its proposal, such proposer will furnish all items and services upon the terms and conditions in this RFP and subsequent contract. Proposals that do not meet the mandatory requirements set forth in this RFP will be considered non-compliant. Proposers may be disqualified and the proposal may be rejected by the County for any of, but not limited to, the following reasons:

- Failure to properly respond to the RFP;

- Evidence of collusion among the proposers submitting the proposals;

- Failure to comply with the specification requirements of the RFP.

Terms, conditions, prices, methodology, or other features of the Contractor’s proposal may be subject to negotiation and subsequent revision. As part of the negotiations, the Contractor may be required to submit additional financial information and other data to allow for a detailed evaluation of the feasibility, reasonableness, and acceptability of the proposal.

The RFP document and the successful proposer’s proposal response, as amended by agreement between the County and the successful Contractor, including e-mail or written correspondence relative to the RFP, may become part of the contract documents. Additionally, the County may verify the successful proposer’s representations that appear in the proposal. Failure of the successful proposer to perform as represented may result in elimination of the successful proposer from competition or in contract cancellation or termination.

The requirements listed in this RFP are not negotiable and will remain unchanged unless the County determines that a change in such requirements is in the best interest of the County.

The County expressly reserves the right, in its sole judgment, to accept or reject any or all proposals, with or without cause, modify, alter, waive any technicalities or provisions, or to accept the proposal which, in its sole judgment, is determined to be the best evaluated offer resulting from negotiation and taking into consideration other evaluation factors set forth in the RFP. The successful proposer will be expected to enter into a contract with the County. If the successful proposer fails to sign a contract within fifteen (15) business days, unless the County grants an extension, following the delivery of the contract documents, the County may elect to negotiate a contract with the next-highest ranked proposer.

The County shall not be bound, or in any way obligated, until both parties have executed a contract. The selected proposer may not incur any chargeable costs prior to final contract execution. The foregoing should not be interpreted to prohibit either party from proposing additional contract terms and conditions during the negotiation of the final Contract.

The supplies and services are to be provided in compliance with all applicable state and federal standards, rules and regulations. The County reserves the right to request additional written and/or oral information from proposers at any time before contract award, in order to obtain clarification of their responses.

### PROTEST OF AWARD

Any objection to the County’s final decision will be handled according to applicable state and local procurement laws.

## DEFINITIONS

Response: The written, signed and sealed complete document submitted according to the proposal instructions. Response does not include any verbal or documentary interaction apart from submittal of a formal Response.

Request/Proposal/Bid: The completed and released document, including all subsequent addenda, made publicly available to all prospective proposers.

We/Us/Our: 	Terms that refer to the County of San Luis Obispo, a duly organized public entity. They may also be used as pronouns for various subsets of the County organization, including, as the context will indicate.

Purchasing: The Contracts and Purchasing Services Division of the Department of Central Services.

Department/Division: The department or division requesting the goods or services contained in this request, for which this PROPOSAL is prepared and which will be the end user of the requested goods or services.

You/Your: Terms that refer to businesses/individuals submitting a response. The term may apply differently as the context will indicate.

Supplier:  A business entity engaged in the business of providing services.

Proposer: A business entity submitting a Response to this proposal. Suppliers which may express interest in this proposal, but who do not submit a Response, have no obligations with respect to the proposal requirements.

Contractor: The proposer(s) whose Response to this proposal is evaluated as meeting the needs of the County. Contractor(s) will be selected for award, and will enter into a contract(s) for provision of the services described in this proposal.

Contractor’s Employee: All persons who can be offered to provide the services described in the proposal. All employees of the Contractor shall be covered by the insurance programs normally provided to persons employed by a company (ex: Worker’s Comp, SDI, etc.).

Mandatory: A required element of this request/proposal/bid. Failure to satisfy any element of this request/proposal/bid defined as “mandatory” will disqualify the particular response.

Default:  A failure to act as required by any contract resulting from this request, which may trigger the right to sue or may excuse the other party's obligation to perform under the contract.

Cancellation/Termination:  A unilateral or mutual decision to not complete an exchange or perform an obligation under any contract resulting from this request.

“Or Equal”:  A statement used for reference to indicate the character or quality desired in a requested product or service. When specified in a proposal document, equal items will be considered, provided the response clearly describes the article. Offers of equal items must state the brand and number, or level of quality. When brand, number, or level of quality is not stated by proposer, the offer will be considered exactly as specified. The determination of the Purchasing Agent as to what items are equal is final and conclusive.

## APPENDIX A – SCOPE OF SERVICES

Introduction

The scope of work required under the terms of this Request for Proposals (RFP), will include providing the necessary experienced staff and expertise as may be required to develop and evaluate design alternatives for a new water supply, treatment, blending, and distribution system which will utilize available water sources from the Nacimiento Water Project and tertiary treated recycled water supplies from the City of Paso Robles Wastewater Treatment Facility. The project will evaluate multiple engineering alternatives to provide a supply of supplemental water that has suitable quality to meet the requirements of existing and future agricultural operations in the Paso Robles Groundwater Basin, to be used in-lieu of groundwater pumping. The study will include the evaluation of various treatment and / or blending scenarios to determine the optimal approach to providing a high-quality product for agricultural irrigation. In addition, the work to be performed will include the determination of an optimal configuration for the transmission and distribution pipeline system to best meet the requirements of the end users and achieve hydraulic efficiency. The utilization of existing agricultural irrigation & frost protection storage reservoirs (i.e. AG Ponds) will be evaluated along with the potential for the construction of new storage facilities. All work will be completed in accordance with the County of San Luis Obispo and other applicable local, state and federal agency regulatory and code requirements.

The feasibility and engineering study (Phase 1) will assess the practicality of delivering blended water supplies from Lake Nacimiento pipeline and the City of Paso Robles recycled water system for agricultural use in lieu of groundwater pumping. It is anticipated that a consultant will provide water resources planning, engineering & hydrology services as may be required to develop a recommended schematic level design of a new water supply, treatment, blending, storage and distribution system which will utilize available water sources from the Nacimiento Water Project and tertiary treated recycled wastewater from the City of Paso Robles Recycled Wastewater (i.e., Purple Pipe) System. The project will be designed to provide a supply of blended water that has suitable quality to meet the requirements of existing and future agricultural operations in the central portion of the Paso Robles Groundwater Basin. An initial concept for the proposed Blended Water Supply Project pipeline alignment is graphically depicted in Figure 1. Figure 1 is included in this RFP for informational purposes only. The Consultant shall independently develop recommendations for the final project, based on the results of the scope of work described in this RFP. The study will include the determination of an optimal configuration for the Blended Irrigation Water Supply system which will include separate connections to the Nacimiento Pipeline and the City of Paso Robles Recycled Wastewater System to best meet the requirements of the end users and achieve hydraulic efficiency. In addition to the feasibility and engineering study, the consultant may be retained to develop a final design and prepare construction documents for a new “turn-out” on the Lake Nacimiento Pipeline (Phase 2). Phase 2 work will only occur with the authorization of the City of Paso Robles. All work will be completed in accordance with the County of San Luis Obispo and other applicable local, state, and federal agency regulatory and code requirements.

The results of the feasibility and engineering study (Phase 1) will be documented in a Preliminary Engineering Report (PER). The following is a preliminary outline of the PER. The final content of the PER will be developed during the course of the project, with input provided by the Paso Basin GSA staff and members of the Blended Water Supply Project Technical Advisory Committee (TAC).

- Project Planning

  - Detailed map(s) showing: (Note: All mapping shall be developed using GIS spatially-related datasets which shall be provided to the County as a project deliverable)

    - Project Vicinity.

    - Base map with aerial photographic layer, using the most recent available photography. (Aerial photography to be provided by the County).

    - Relevant hydrologic (major streams, streams receiving waste discharges), geologic, soil types, watersheds, flood-prone areas, areas designated prime farmland, and topographic features (including topographic contours). (Note: Depiction of topography shall be based on the most current USGS LIDAR elevation survey, or equal).

    - Areas with potential for discharge of blended water supplies for groundwater basin recharge using SkyTEM (may require analysis of well logs to address data gap areas).

    - Environmental features including mapped wetlands, riparian habitat corridors, etc.

    - Cultural features, including roadways, railroads, bridges, utilities (overhead and buried), and other relevant man-made structures.

    - Locations of existing wells, stream gages, climatologic stations shall be depicted. (Well location data to be provided by the County).

    - Property boundaries, including parcels, rights-of-way, and other relevant property boundaries. (Property boundary / parcel data sets to be provided by the County)

    - Service Area and Groundwater Sustainability Agency (GSA) boundaries.

    - Project site and service/study area boundary.

    - Wholesale and retail water supply and water district entity boundaries within study area and adjacent to study area.

    - Wastewater agency boundaries within and adjacent to study area.

    - Groundwater basin boundaries. (DWR Bulletin 118 and Fugro Boundaries)

    - Existing and proposed recycled water distribution pipelines, storage, appurtenances, and existing and potential future users.

    - Existing and proposed untreated and treated water supply distribution and transmission pipelines, storage, appurtenances, and existing and potential future users.

  - Existing land use, trends, and projected land use. Agricultural crop type shall be identified. (The most recent land use data from Land IQ shall be used).

  - Existing population, trends, and population projections of study area (population projections must be cited from an independent source(s)).

- Lake Nacimiento Water Supply Characteristics and Facilities

  - Description of existing facilities, including conveyance, pumping, storage, and treatment processes and schematic(s), design criteria, current capacities, current flows, current water quality characteristics and the current discharge turnout location(s).

  - Results of investigations shall be used to determine the availability of water from the Nacimiento Water Project from a volumetric and temporal basis. The results of the investigations shall be used to develop an understanding of how much water will be available and the timing of when during the year it will be available, including a description of the Lake Nacimiento Project flow variations, on an hourly, daily, and seasonally basis. An assessment of supply uncertainty shall be included. This information is critical to the water system design, including pipe sizes, pump station and treatment system capacity and configuration and the placement/ sizing of irrigation water storage facilities.

  - Analysis of the quality of the Lake Nacimiento Project source water to determine the overall suitability of the source for agricultural irrigation purposes. Identify any problem constituents and develop recommendations for control measures. This analysis shall address the potential variation in water quality from both a seasonal perspective and as water levels in the lake vary between normal, drought, and wet cycles to determine what, if any, treatment will be required to meet the requirements of the end users. In conjunction with this task, the Consultant shall perform an analysis to determine how blending of the available source waters can be utilized to produce irrigation supplies that are acceptable to the end users. The blending analysis will include the contribution of groundwater from existing wells which are located on properties currently owned by the end users.

  - Description of existing water rights for use as an agricultural irrigation water supply.

- City of Paso Robles Recycled Wastewater Characteristics and Facilities

  - Description of existing facilities, including conveyance, pumping, storage, and treatment processes and schematic(s), design criteria, current capacities, current flows, current water quality characteristics and the current and proposed discharge and customer turnout location(s).

  - Results of investigations shall be used to determine the availability of water from the City of Paso Robles Recycled Wastewater Treatment Facility on a volumetric and temporal basis. The results of the investigations shall be used to develop an understanding of how much water will be available and the timing of when during the year it will be available, including a description of the recycled wastewater flow variations, from an hourly, daily, and seasonally basis. An assessment of supply uncertainty shall be included. This information is critical to the water system design, including pipe sizes, pump station and treatment system capacity and configuration and the placement/ sizing of irrigation water storage facilities.

  - Analysis of the quality of the City of Paso Robles Recycled Wastewater Treatment Facility source water to determine the overall suitability of the source for agricultural irrigation purposes. Identify any problem constituents and develop recommendations for control measures. This analysis shall address the potential variation in water quality from both a seasonal perspective and as water levels in the lake vary between normal, drought, and wet cycles to determine what, if any, treatment will be required to meet the requirements of the end users. In conjunction with this task, the Consultant shall perform an analysis to determine how blending of the available source waters can be utilized to produce irrigation supplies that are acceptable to the end users. The blending analysis will include the contribution of groundwater from existing wells which are located on properties currently owned by the end users.

  - Description of existing water recycling users, quantities, and contractual arrangements.

  - Description of existing water rights for use of treated effluent after discharge.

- Blended Water Supply Analysis

  - If it is considered necessary, the Consultant will perform a water treatment / blending pilot study to evaluate potentially viable treatment processes and / or optimal blending proportions of the two supplies. Based on the results of the pilot study, one or more water treatment technologies and / or blending protocols will be identified for further consideration during the preliminary engineering alternatives task. The ultimate goal of this task is to determine the most efficient treatment / blending process by which a supplemental water supply can be produced and delivered to the end users of the Blended Water Supply Project which meets or exceeds the requirements for agricultural irrigation on the properties of the end users.

- Water Demand Analysis

  - Consultant will work with GSA staff, members of the Blended Water Supply Project Technical Advisory Committee (TAC), industry stakeholders, and potential identified end users of the Paso Basin Blended Irrigation Water Supply Project to develop an understanding of the anticipated demand and water quality requirements for the blended water supply. The demand analysis will include quantification of the volumetric and temporal demand criteria and shall be representative of the actual irrigation practices that are currently being applied in the project area. It shall be understood that the demand for water by the end users will change seasonally and from year to year, depending on climatic conditions, number of end users, and crop type. The Consultant will work with the end users to develop reasonable demand profiles for near term and future anticipated conditions.

  - The Consultant shall utilize available datasets during the water demand analysis, including satellite based Et data, historic metered pumping data, and other datasets that may be identified during the course of this project to refine the water demand estimates for the ultimate end users of the blended water supply.

- Preliminary Engineering & Evaluation of Project Alternatives

  - Utilizing information acquired through the previous work tasks, Consultant will identify potentially feasible alternative design configurations for the Blended Water Supply Project. The Consultant will develop a conceptual and schematic level design for each of the identified design alternatives. Appropriate design criteria will be established for all major design elements. At minimum, the following design elements will be addressed:

    - Source of water

      - Work with each of the source water agencies to establish the requirements for connecting to their individual systems.

      - Point of Connection (POC) design including structure, piping, mechanical, electrical, control, and other required components.

    - Treatment & Blending

      - Provide schematic of proposed plant location (if applicable).

      - Detail proposed treatment process to attain requirements for quality and quantity.

      - Discuss any process residual discharges & options for disposal.

    - Storage

      - Identify size, type & site location for each existing and proposed storage facility (if applicable).

      - Discuss hydraulic interactions with the water supply system, storage facilities, and end users.

    - Pump Stations (if applicable)

      - Identify size, type, site location and any special power requirements.

    - Transmission & Distribution Pipeline Infrastructure Layout

      - Identify proposed location of pipeline alignments and improvements including lengths, sizes, and key components & appurtenances.

      - Identify end user POC / turn-out locations.

      - Provide hydraulic information as described in the next section.

      - Identify any easement or ROW requirements.

      - Identify any creek crossings or other alignment segments that will require special construction techniques and / or special permits.

    - Hydraulic Calculations

      - Perform hydraulic modeling as required to develop an optimal design for all infrastructure.

      - Develop hydraulic design criteria for all proposed improvements, with respect to all anticipated static and dynamic conditions.

    - Cost estimates

      - Capital construction costs of all Blended Water Project Infrastructure

      - Non-construction and other project costs

      - Annual O&M for proposed improvements

      - Proposed contingency allowance.

    - Pollution Control Requirements

      - if applicable, identify any pollution control requirements needed to comply with waste discharge requirements, and possible allocation of costs between recycling and pollution control.

    - Environmental Impacts

      - Provide information about how the specific alternative may impact the environment. Describe only those unique direct and indirect impacts on floodplains, wetlands, other important land resources, endangered species, historical and archaeological properties, etc., as they relate to each specific alternative evaluated.

    - Land Requirements

      - Identify sites and easements required. Further specify whether these properties are currently owned, to be acquired, leased, or have access agreements.

  - Information supplied for each alternative to include, but not be limited to:

    - Cost tables for each alternative with breakdown of costs by total capital (without grants), O&M, unit processes, equivalent annual cost, and per acre-foot cost.

    - List of potential users assumed for each alternative.

    - Economic analysis in dollars per acre-foot of recycled, Lake Nacimiento, and blended water produced or delivered.

    - Water quality impacts:

      - Effect on receiving water by removing or reducing discharge of effluent, including effect on beneficial uses resulting from reduced flow.

    - Summary of environmental analysis and identification of potential regulatory impacts that would be required to comply with CEQA.

    - Summary of all permits that would be required to fully implement the alternative.

  - Based on the information developed in the previous work tasks, each of the identified design alternatives for the Blended Water Supply Project will be comparatively evaluated. For this task, the Consultant will prepare an evaluation matrix for use in assessing the viability and comparative advantages/ disadvantages of each alternative and combination thereof. Evaluation criteria will include system hydraulic & energy efficiency; water quality & suitability for irrigation by the end users; infrastructure proximity to & compatibility with the requirements of the end users; probable treatment / blending requirements; cost of development & operation; dependability; environmental impacts & sustainability; and other factors as may be defined during the course of the assessment. The matrix based ranking system will be utilized to provide for an unbiased comparison of the alternatives considered. The outcome of this process will be the identification of the Recommended Alternative for the Blended Water Supply Project.

  - The Consultant will periodically solicit input from GSA staff, members of the Blended Water Supply Project Technical Advisory Committee (TAC), industry stakeholders, and potential identified end users of the Paso Basin Blended Irrigation Water Supply Project, as well as regulatory officials as part of the evaluation process. It is imperative the stakeholders in this project have the opportunity to contribute thought, experience and recommendations in advance of the determination of the recommended project.

- Recommended Project

  - Consultant will prepare a Final Preliminary Engineering Report (PER) which will document the process by which the Recommended Alternate was selected and summarize the relevant data which was considered. The DRAFT document will be distributed to the GSA staff, members of the Blended Water Supply Project Technical Advisory Committee (TAC), industry stakeholders, and potential identified end users of the Paso Basin Blended Water Supply Project for review and comment. The Consultant should anticipate that formal informational presentations will be made to these groups as deemed appropriate. Upon receipt of all comments and with direction from the GSA staff, the Consultant will produce the FINAL report. At minimum, the Consultant shall include in the recommended project description, the following:

    - Description of all proposed facilities and basis for selection.

    - Preliminary design criteria.

    - Cost estimate based on time of construction:

      - Selected project alternative total cost.

      - Cost index.

      - Discount rate.

      - Useful life (years).

      - Life cycle costs (present worth included O&M costs).

      - Operations and maintenance yearly costs.

      - Replacement costs.

    - List of all potential users, quantity of recycled water use, peak demand, and commitments obtained.

    - Reliability of facilities as compared to user requirements.

    - Implementation plan:

      - Coordination with water suppliers, determination of recycled water supplier and needed agreements or ordinances.

      - Tentative water recycling requirements of RWQCB.

      - Water rights impact.

      - Permits required for project implementation.

      - Detailed schedule including, but not limited to, notice-to proceed, construction completion, initiation of operations, etc.

    - Operational plan – responsible people, equipment, monitoring, irrigation scheduling, etc.

    - Description of any key issues to be resolved, particularly items that may significantly impact the project budget or schedule.

- Construction Financing Plan and Revenue Program

  - Sources and timing of funds for design and construction.

  - Pricing policy for recycled, Lake Nacimiento, and blended water supplies.

  - Costs that can be allocated to water pollution control.

  - Annual costs (required revenue) of recycling project.

  - Sunk costs and indebtedness

- Appendices

  - Hydraulic calculations, model output summaries, other related supporting information which supports conclusions and recommendations.

- Lake Nacimiento Pipeline Blended Water Supply Project Turn-Out Final Design and Construction Document Preparation (Phase 2) (Note: Phase 2 work will only occur with the authorization of the County of San Luis Obispo and the City of Paso Robles.

  - Pending the successful completion of the PER, the consultant may be retained to develop a final design and prepare construction documents for a new “turn-out” on the Lake Nacimiento Pipeline (Phase 2). Phase 2 work will only occur with the authorization of the City of Paso Robles. All work will be completed in accordance with the County of San Luis Obispo and other applicable local, state, and federal agency regulatory and code requirements. The following is a description of the Phase 2 Scope of Work:

    - Data Collection

      - Initial Data Acquisition: Collect data from existing utility records to incorporate protection and/or relocation of potentially affected utilities into the design of the proposed improvements. Consultant will work with County and City of Paso Robles staff to have the buried utilities within the project corridor field located.

      - Topographic Survey:  Consultant will identify the scope of work and coordinate the activities of a qualified surveyor who will perform topographic survey for the design work, including the following: Establish vertical and horizontal control on established datum’s and perform topographic survey as required to develop the new “turn-out” design and produce construction and bidding documents.

    - Engineering Preliminary Design

      - The Consultant will coordinate with County and City of Paso Robles staff to establish design criteria, turn-out and appurtenance configuration. Consultant will utilize topographic mapping, utility atlas data, field inspection, “As-Built” construction drawings, County and City staff institutional knowledge, and applicable regulations, to develop recommendations for design criteria, recommended alignments, constructability, utility avoidance and water service disruption avoidance.

    - Engineering Final Design

      - Preparation of Construction Documents: For purposes of this proposal, Consultant shall plan on submitting a 60% and 90% complete Construction Document set for County and City review prior to the Final Construction Documents. The design drawings will be 24”x36” design plan sheets in conformance with County design standards, and include the following, at a minimum:

- Cover Sheet

- General Site Plan

- All topographic features, including utility alignments, valves, and appurtenances, as well as locations of other physical and topographic features deemed appropriate.

- All streets and utilities and existing ROW / easements.

- Existing Lake Nacimiento Waterline Plan and Profile, including pipe size, material, fittings, valves and appurtenances.

- Location appurtenances such as valves, fittings, connections, etc.

- Location of other utilities which may be affected during the construction process.

- Miscellaneous Details

- Sheets will contain details on items, as necessary.  Wherever possible, San Luis Obispo County Standard details and specifications will be used to minimize the need for specialized equipment detailing.

    - Technical Specifications: Consultant will prepare technical specifications and combine with the County’s upfront general specifications for a complete set of biddable construction documents.  This will include reviewing the County’s upfront portion and incorporating the appropriate project specific information.  Technical specifications and the complete bidding document package will be included at the 60% and 90% Construction Document submittal.

    - Bid Schedule and Engineer’s Estimate: Along with the final plans and specifications, the Consultant team will prepare a bid schedule and an accompanying Engineer’s Estimate of Probable Cost to give the County and the City an idea of what the project will cost to construct. This estimate will be included in the 90%, and final submittal packages.

    - Coordination Meetings: The Consultant design team will meet to review the 60% and 90% submittal drawings with County and City staff upon review to go over comments, questions, and items to incorporate into the final package.

    - Permitting Assistance

      - Consultant shall prepare all required permit applications for the construction of the new Lake Nacimiento Water Pipeline Turn-Out.

- Meetings and Progress Reporting

  - The Consultant will work with GSA staff, members of the Blended Water Supply Project Technical Advisory Committee (TAC), industry stakeholders, and potential identified end users of the Paso Basin Blended Irrigation Water Supply Project. For the purposes of developing the project fee estimate, the Consultant should anticipate attending a project “kick-off” meeting, twelve (12) monthly meetings with the TAC, and six (6) meetings with the Paso Basin Cooperative Committee). The Consultant should plan to prepare written progress report in advance of each of these meetings and provide the progress reports to the County’s project manager a minimum of 1-week prior to each meeting so that the reports can be distributed in the respective meeting agenda packets. Additionally, the Consultant shall prepare and deliver a presentation summarizing the project status during the TAC and PBCC meetings.

- Project Deliverables and Schedule

  - The Consultant shall develop and include in the proposal a complete list of project deliverables that are anticipated to be developed and provided during the course of the project. A project schedule, including all key milestones and deliverables delivery dates shall also be included in the proposal.

Figure 1

Initial Conceptual Alignment for

Paso Robles Groundwater Basin Blended Water Supply Project

## APPENDIX B – SAMPLE CONTRACT

Sample Contract attached as a separate document. Dept can use custom Sample Contract or the Purchasing Sample Contract.  Make sure to include Sample Contract on List of Appendices.

## APPENDIX C – LOCAL VENDOR PREFERENCE

The County has established a local vendor preference.  When quality, service, and other relevant factors are equal, responses to Requests for Proposals will be evaluated with a preference for local vendors.  Note the following exceptions:

1.	Those contracts which State Law or, other law or regulation precludes this local preference.

2.	Public works construction projects.

A "local" vendor preference will be approved as such when, 1) The vendor conducts business in a fully staffed office with a physical address within the County of San Luis Obispo; 2) The vendor holds a valid business license issued by the County or a city within the County; and 3) The vendor has conducted business at the local address for not less than six (6) months prior to the due date of this Request for Proposal.

Proposals received in response to this Request for Proposal will be evaluated by the Selection Committee considering the local vendor preference described above when quality, service and other relevant factors are equal.  The burden of proof will lie with proposers relative to verification of "local" vendor preference.  Should any questions arise, please contact a buyer at (805) 781-5200.

|  | YES | NO |
| --- | --- | --- |
| Do you claim local vendor preference? |  |  |
| Do you conduct business in an office with a physical location within the County of San Luis Obispo? |  |  |
| Business Address: |
| Years at this Address: |
| Does your business hold a valid business license issued by the County or a City within the County? |  |  |
| Name of Local Agency which issued license: |

Business Name:

Authorized Individual:	 Title:

Signature:	 Dated:

## APPENDIX D – RISK ASSESSMENT QUESTIONNAIRE

Required Submittal

- List the full names of any partners, owners, officers or other persons occupying a position of authority or responsibility in your organization, as well as their DUNS number.

| DUNS Number | Organization |
| --- | --- |

NOTE:  A DUNS number is not required but must be listed if the entity has one.

- Have the individual(s) in item #1 been subject to bankruptcy, insolvency or receivership proceedings in the last five (5) years?  Yes (    No(      If yes, please enclose details.

- Has your business/company/organization filed for bankruptcy within the last five (5) years?  Yes (    No(      If so, please enclose details.

- Has your business/company/organization/individual(s) in item #1 ever had a contract for the general type of services/product sought by the County terminated for non-compliance or inadequate performance?  Yes (    No(      If yes, please enclose details.

- Has your business/company/organization/individual(s) in item #1 ever defaulted on a contract for the general type of services/product being sought by the County?

Yes (    No(   If yes, please enclose details.

- Has there been, in the last five (5) years, or is there now pending or threatened, any litigation, arbitration, governmental proceeding or regulatory proceeding involving claims in excess of $100,000 with respect to the performance of any services or the provision of any product by your business/company/organization/individual(s) in item #1?  Yes (    No(      If yes, please enclose details.

- Has your business/company/organization/individual(s) in item #1 ever defaulted in fulfilling all of its obligations relating to the payment of county taxes, fees, or other obligations?

Yes (    No(      If yes, please enclose details.

- In the last five (5) years, has your business/company/organization/individual(s) in item #1, been or currently involved in any action, audit or investigation brought by any federal government agency or authority or by any state or local governmental agency?  Yes (    No(       If yes, please enclose details.

- In the last five (5) years, has your business/company/organization/individual(s) in item #1 been debarred or suspended for any reason by any federal, state or local government or refrained from bidding on a project due to an agreement with such governmental agency?  Yes (    No(      If yes, please attach a full explanation.

- In the past five (5) years, has your business/company/organization/individual(s) in item #1 had its surety called upon to complete any contract, whether government or private sector?  Yes (    No(      If yes, please enclose details.

- In the past five (5) years, has your business/company/organization/individual(s) in item #1 had a revocation, suspension or disbarment of any business or professional permit and/or license?  Yes (    No(      If yes, please enclose details.

- Has your firm or any of its owners, officers or partners ever been convicted of a federal or state crime of fraud, theft, or any other act of dishonesty?

Yes (    No(      If “yes,” identify on a separate signed page the person or persons convicted, the court (the county if a state court, the district or location of the federal court), the year and the criminal conduct.

Signature

THE UNDERSIGNED HEREBY CERTIFIES THAT THE RESPONSES PROVIDED ARE CORRECT AND TRUTHFUL TO THE BEST OF MY KNOWLEDGE AND FOR THOSE RESPONSES GIVEN WHICH ARE BASED ON INFORMATION AND BELIEF, THOSE RESPONSES ARE TRUE AND CORRECT BASED ON MY PRESENT BELIEF AND INFORMATION.

Dated this ______ day of __________________ of the year _________

Name of organization: _____________________________________________

Signature: _______________________________________________________

Printed Name and title: _____________________________________________

## APPENDIX E – COUNTY TRAVEL POLICY

(Attached as a separate document)

Purchasing will attach the Travel Policy to the RFP.

.

## APPENDIX F – DESIGNATION OF SUBCONTRACTORS FORM

In compliance with the provisions of Sections 4100-4113 of the Public Contract Code of the State of California, and any amendments thereto, the undersigned proposer sets forth the following:

a.	The name, License No. if applicable, DIR Registration No., and location of the place of business of prime contractor and each subcontractor who will perform work or labor, or render service to the undersigned Prime Contractor in or about the scope of the work.

|  | Business Name | License No. | DIR Reg. No.** | Address |
| --- | --- | --- | --- | --- |
| Prime Contractor (your information) |  |  |  |  |
| Subcontractors |  |  |  |  |

By:  __________________________________________________________________________________

(Proposer's Signature/Printed Name and Title/Company Name)

NOTE:  Contractors, and all applicable subcontractors listed in your proposal, MUST register with the DIR prior to the RFP closing.  The County will not consider any proposal submitted in response to this RFP where prevailing wages shall be paid to either the prime contractor, or their subcontractor(s), if the prime contractor (and its subcontractors, if applicable) are not registered with the Department of Industrial Relations at the time the RFP closes.

If you are already registered with the DIR, please double check that you have renewed your registration for the fiscal year before submitting your proposal.

The following link will take you to the registration page of the DIR website:

http://www.dir.ca.gov/Public-Works/Contractor-Registration.html

## APPENDIX G – PROPOSER CHECKLIST

Please check all documents in which you have included with your submittal.

Technical Proposal (Required)	□

(Including resumes)

Cost Proposal (Required)	□

Local Vendor Preference	□

Risk Assessment Questionnaire (Required) 	□

Designation of Subcontractors Form	□